## Slide 1
Vplasma
Linear
Log scale
Vfloat
Langmuir probe measurements
Energy of ions:
Determine plasma potential via:
Or via tangent method as shown below
(Accuracy not the greatest…)

## Slide 2
Iprobe
secondary electron emission coefficient (correction factor)
Area of probe
Surface density from RBS
Deposition time
Area probe measurements